ANNEX No. 9

Qualification System – Purchase of MV and LV Cables

List of Cables and Conductors

| Standard cable for a distribution network LV, outer sheath of PVC |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Name | Number of conductors | Conductor cross-section [mm2] |  |  |
|  | NAYY-J | 3 | 25 |  |  |
|  | (N)AYY-J | 4 | 16 |  |  |
|  | NAYY-J |  | 25 |  |  |
|  |  |  | 35 |  |  |
|  |  |  | 50 |  |  |
|  |  |  | 70 |  |  |
|  |  |  | 95 |  |  |
|  |  |  | 150 |  |  |
|  |  |  | 240 |  |  |
|  |  | 5 | 25 |  |  |
| Standard cable for a distribution network LV, outer sheath of PE |  |  |  |  |  |
|  | Name | Number of conductors | Conductor cross-section [mm2] |  |  |
|  | NAY2Y-J | 3 | 25 |  |  |
|  |  | 4 | 25 |  |  |
|  |  |  | 35 |  |  |
|  |  |  | 50 |  |  |
|  |  |  | 70 |  |  |
|  |  |  | 95 |  |  |
|  |  |  | 150 |  |  |
|  |  |  | 185 |  |  |
|  |  |  | 240 |  |  |
|  |  | 5 | 25 |  |  |
|  | SE-N1XE-U | 4 | 10 |  |  |
|  | SE-N1XE-AS RT | 4 | 50 |  |  |
|  |  |  | 95 |  |  |
| Standard cable for a distribution network LV, outer sheath of PE |  |  |  |  |  |
|  | Name | Number of conductors | Conductor cross-section [mm2] |  |  |
|  | SE-N1XE-AS RT | 4 | 150 |  |  |
|  |  |  | 240 |  |  |
|  | SE-N1XE-AR | 4 | 25 |  |  |
|  |  | 5 | 25 |  |  |
|  | AXQJ1 | 4 | 50/29 |  |  |
|  |  |  | 95/57 |  |  |
|  |  |  | 150/88 |  |  |
|  |  |  | 240/146 |  |  |
|  | AML | 4 | 10 |  |  |
|  |  |  | 25 |  |  |
|  |  |  | 50 |  |  |
|  |  |  | 95 |  |  |
|  |  |  | 150 |  |  |
|  |  |  | 240 |  |  |
|  |  | 5 | 25 |  |  |
| Copper cables LV |  |  |  |
|  | Name | Number of conductors | Conductor cross-section [mm2] |  |  |
|  | NYY-J | 4 | 70 |  |  |
|  |  |  | 150 |  |  |
|  |  | 1 | 95 |  |  |
|  |  |  | 120 |  |  |
|  |  |  | 240 |  |  |
|  | NYY-O | 1 | 50 |  |  |
|  |  | 1 | 240 |  |  |
| Cables for street lighting systems |  |  |  |  |  |
|  | Name | Number of conductors | Conductor cross-section [mm2] |  |  |
|  | NYY-J | 4 | 10 |  |  |
|  |  |  | 16 |  |  |
|  | NY2Y-J |  | 10 |  |  |
|  | NYY-J | 5 | 6 |  |  |
|  |  |  | 10 |  |  |

| Earthing cables |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Name | Number of conductors | Conductor cross-section [mm2] |  |
|  | NYY-J | 1 | 25 |  |
|  |  |  | 50 |  |

| Standard cables for a distribution network, 6/10 (12) kV or 6.35/11 (12) kV |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Name | Conductor [mm2] | Shield [mm2] |  |
|  | NA2XS(F)2Y | 150 | 25 |  |
|  |  | 240 |  |  |
|  |  | 3×1×240 |  |  |
|  |  | 500 | 35 |  |
|  | AXLJ-LT | 300 | 25 |  |
|  | AXLJ-TTCL TSLF | 95 | 16 |  |
|  |  | 150 | 25 |  |
|  |  | 240 |  |  |
|  |  | 400 | 35 |  |
|  |  | 630 |  |  |
|  | AMLJ-TTCL | 95 | 16 |  |
|  |  | 150 | 25 |  |
|  |  | 240 |  |  |
|  |  | 400 | 35 |  |
|  |  | 630 |  |  |
| Standard cables for a distribution network, 12/20 (24) kV or 12.7/22 (25) kV |  |  |  |  |
|  | Name | Conductor [mm2] | Shield [mm2] |  |
|  | NA2XS(F)2Y | 95 | 16 |  |
|  |  | 150 | 25 |  |
|  |  | 3x1x150 |  |  |
|  |  | 185 |  |  |
|  |  | 240 |  |  |
|  |  | 300 |  |  |
|  |  | 3x1x300 |  |  |
|  |  | 400 | 35 |  |
|  |  | 500 |  |  |
|  |  | 630 |  |  |
|  |  | 800 |  |  |
|  | (N)A2XS(F)2Y2 | 70 | 16 |  |
|  |  | 95 |  |  |
|  |  | 150 | 25 |  |
|  |  | 240 |  |  |
|  |  | 300 |  |  |
|  | N2XS(F)2Y | 185 | 25 |  |
|  |  | 3x1x185 |  |  |
|  |  | 300 |  |  |
|  |  | 500 | 35 |  |
|  | (N)2XS(F)2Y | 300 | 25 |  |
|  | AXLJ-TTCL TSLF | 95 | 16 |  |
|  |  | 150 | 25 |  |
|  |  | 240 |  |  |
|  |  | 400 | 35 |  |
|  |  | 500 |  |  |
|  |  | 630 |  |  |
|  | AMLJ-TTCL | 95 | 16 |  |
|  |  | 150 | 25 |  |
|  |  | 240 |  |  |
|  |  | 400 | 35 |  |
|  |  | 630 |  |  |
| Standard cables for a distribution network 18/30 (36) kV |  |  |  |  |
|  | Name | Conductor [mm2] | Shield [mm2] |  |
|  | NA2XS(F)2Y | 150 | 25 |  |
|  |  | 240 |  |  |
|  |  | 500 | 35 |  |
|  |  | 630 |  |  |
|  | N2XS(F)2Y | 300 | 25 |  |
|  | AXLJ-TTCL TSLF | 240 | 25 |  |
|  |  | 400 | 35 |  |
|  |  | 630 |  |  |
|  | AMLJ-TTCL | 240 | 25 |  |
|  |  | 400 | 35 |  |
|  |  | 630 |  |  |
| Standard cables for a distribution network 20.8/36 (42) kV |  |  |  |  |
|  | Name | Conductor [mm2] | Shield [mm2] |  |
|  | EAXeCWB1 | 150 | 25 |  |
|  |  | 240 |  |  |
| Transformer cable |  |  |  |  |
|  | Name / Voltage level | Conductor [mm2] | Shield [mm2] |  |
|  | N2XSY 20 kV | 35 | 16 |  |
|  | (N)2XSY 22 kV | 35 |  |  |
|  | N2XSY 30 kV | 50 |  |  |
|  | NA2XS(F)2Y 20 kV | 50 |  |  |
| Three-core cables 6.35/11 (12) kV |  |  |  |  |
|  | Name | Conductor [mm2] | Shield [mm2] |  |
|  | AXLJ-RMF LT | 3x95 | 16 |  |
|  |  | 3x150 | 25 |  |
|  |  | 3x240 |  |  |
|  | AMCL | 3x95 | 16 |  |
|  |  | 3x150 | 25 |  |
|  |  | 3x240 |  |  |
|  | AMLJ-RMF | 3x95 | 16 |  |
|  |  | 3x150 | 25 |  |
|  |  | 3x240 |  |  |
| Three-core cables 12.7/22 (24) kV |  |  |  |  |
|  | Name | Conductor [mm2] | Shield [mm2] |  |
|  | AXLJ-RMF LT | 3x95 | 16 |  |
|  |  | 3x150 | 25 |  |
|  |  | 3x240 |  |  |
|  | AMCL | 3x95 | 16 |  |
|  |  | 3x150 | 25 |  |
|  |  | 3x240 |  |  |
|  | AMLJ-RMF | 3x95 | 16 |  |
|  |  | 3x150 | 25 |  |
|  |  | 3x240 |  |  |
| Three-core cables 18/30 (36) kV |  |  |  |  |
|  | Name | Conductor [mm2] | Shield [mm2] |  |
|  | AXLJ-RMF LT | 3x95 | 16 |  |
|  |  | 3x150 | 25 |  |
|  |  | 3x240 |  |  |
|  | AMCL | 3x95 | 16 |  |
|  |  | 3x150 | 25 |  |
|  |  | 3x240 |  |  |
|  | AMLJ-RMF | 3x95 | 16 |  |
|  |  | 3x150 | 25 |  |
|  |  | 3x240 |  |  |

| Standard cable for a distribution network with fewer than 4 conductors |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Name | Number of conductors | Conductor cross-section | Conductor type |
|  | NFA2X | 1 | 16 | RM |
|  | NFA2X | 1 | 25 |  |
|  | NFA2X | 2 | 16 |  |
|  | NFA2X | 2 | 25 |  |
| Standard cable for a distribution network with 4 conductors |  |  |  |  |
|  | Name | Number of conductors | Conductor cross-section | Conductor type |
|  | NFA2X | 4 | 16 | RM |
|  | NFA2X | 4 | 25 |  |
|  | NFA2X | 4 | 50 |  |
|  | NFA2X | 4 | 70 |  |
|  | NFA2X | 4 | 95 |  |
|  | NFA2X | 4 | 120 |  |
| Standard cable for a distribution network with more than 4 conductors |  |  |  |  |
|  | Name | Number of conductors | Conductor cross-section | Conductor type |
|  | NFA2X | 4/1 | 50/25 | RM |
|  | NFA2X | 4/1 | 70/35 |  |
|  | NFA2X | 4/1 | 95/25 |  |
|  | NFA2X | 4/1 | 95/35 |  |